Operations Report

* SOC’s & VOC’s for Baker Creek have been done – GMS
* Vault Repair
* Brush clean up
* QA Balance - Scales and PH Meters
* Celling Fan installed in office, Lights installed outside
* Fan Press Demo
* Parcel F Done
* Land Apply – 10 Loads
* 15 Panadero Ave – Troy and Dianne Anthenueese – Extend main sewer line to accommodate tap.
* Britton Ponds 1 & 2 have water and they exercised gates, Pond 3 is empty
* Ordered Blowers – Digester and Sludge Holding
* Garage Doors at Baker Creek GMS email Tank removal
* Baker Creek Samples Done
* Backhoe bucket purchased (Under Budget) Cleaned trucks, replaced tire.
* 2 meter setters removed
* Locates – Most for Jade Fiber
* Difuser Buy it
* Lots of Water turn on requests
* Dennis Murphy complaint – Dirt but helped him with water key problem
* Meters
* Removed broken meter from inside property at Aspen Trail, already had meter outside
* Ty from Royal came to replace grit screw malfunction
* Set up with App for Primex
* Set up phones and accounts for Primex
* Internet guy conform water plant internet, waiting on install.
* Tucker is testing for a b sewer 30th
* Glenn test on 23rd for B Water
* Tanner passed C Water
* Mark Foxworthy did training on DMR and Reg 85 submittal along with regular training.
* Gas detector testing