* Sampling complete for water and wastewater for May. All results are back and look good.
* Jeremey with the Ski Corp group is draining the snowmaking pond at the resort so we can assess it after it’s empty.
* Royal electric completed filter control backwash panel and also installed the 8 each electric control valves. Everything has been working great. Tigh and Ken will come back to do the south wall panel replacement when time allows.
* I have not heard anything on the three permits that we are currently waiting on. USFS-Cdot-Backwash pond thru the State
* Nothing from Filter Tech on parts for installation of the floculator for the clarifier at Spanish Peaks Plant.
* CCR (consumer confidence report) is complete and is available on our website or copies are available here at the District office.
* We have a total of 280 Master Meters installed and have another 180 to put in by end of the summer. We did get three more commercial meters put in and have locates called in for Bears Den and Riverside bed and breakfast.
* Land applied sludge at the end of April at Jameson hay field. We should have plenty of room to get us by till fall when we would land apply again.
* Tim and Glenn attended Colorado Rural Water Conference the first week of May. They both said they learned a lot and said to tell the Board thanks for allowing them to go.
* Myself and one board member are invited to Forbs Park the 20th of May. SPWAP-USFS-LVFPD along with other entities will be given a tour of mitigated-non mitigated-firenado site-recovered-non recovered and erosion recovery work.
* Jason Wessling installed the sludge pump in the empty basin and replaced a valve needed to transfer from basin to basin. Jason will here on 5-13-22 to replace the large sludge pump that loads the truck and does basin transfers.
* Steve Sanchez sent information on NRCS source water protection. They are looking for ways to use EWP funds to support projects on private land. I sent the email to you all on 5-11-22.
* Waiting to hear update from GMS as soon as I get it I will forward it on.